Using your Metered Dose Inhaler (e.g., albuterol, Proventil®):  Steps 1 to 8

# Text boxes

- Shake the inhaler hard up and down 5 times.

- Uncap inhaler and spacer mouthpieces and look for loose objects in the devices.

IF PRIMING IS NEEDED: Push down inhaler canister one time, spraying into the air away from your face.  Shake 5 times more and spray 3 times into the air.

- Breathe OUT normally and away from the spacer. Don’t breathe in until step #5.

- Put the inhaler mouthpiece in your mouth between your teeth. Close your lips around the inhaler mouthpiece and keep your tongue out of the way of the mouthpiece.

- Start to breathe in slowly and press down on the inhaler canister 1 time. Continue to breathe IN slowly to fill your lungs full of medicine.

- Take inhaler OUT of your mouth. Hold your breath for 5 to 10 seconds. We want to keep your lungs filled with medicine for 5 to 10 seconds.

- Breathe OUT normally

- Wait 30 to 60 seconds before repeating steps 1–8 for the second puff.

- Wait 15 to 30 seconds before repeating steps 1–9 for the second puff.

1

2

3

4

5

6

7

Inhaler

Mouthpiece

Cap

Canister